7. Course Schedule

| Lecture1-3: | Course overview, introduction to electric machinery and application |
| --- | --- |
|  | Topic 1: Magnetic materials and Circuits (S. Chapman, ch. 1) Sections:1.1,1.2, 1.4-7,1.8 (can be moved to DC machine), 1.9 with emphasis on three phase systems, |
| Lecture 4-8: | Topic 2 - Transformers & its performance (S. Chapman, ch. 2) Sections: 2.1-10, 2-12(inrush current),2.13 |
|  | Lab 1: Transformer short circuit an open circuit measurements |
| Lecture 9-11: | Topic 3- Fundamentals of AC Machines steady state operation (S. Chapman ch. 4 ) Sections: 4.1-5 |
|  | ; Tutorial set 1. |
| Lecture 12-15: | Topic 4- Synchronous Machines (S. Chapman ch. 5&6) Sections: 5.1-7, 5.9(parallel with large power system pp301-304), 6.1-6(only Power factor correction) |
|  | Lab 2: Tutorial set 2. |
| Lecture 16-21: | Topic 5- Induction Machines (S. Chapman Chs 7) Sections: 7.1-9, 7.11-13 |
|  | Lab 2 ; Tutorial set 3. |
| Lecture 21-26: | Topic 6- DC Machines (S. Chapman ch. 8 &9) Sections: 8.1-2, 8.4-8, 9.1-6, 9.8, 9.11, 9.12 |
|  | Lab 3 Tutorial set 4; Lab report no.1 due (). |
| Lecture 27-28: | Topic 7 - Special Motors & Revision Sections: 10.6(without hysteresis motors) |
|  | Lab 3 (odd week group); Tutorial set 3; QUIZ 1 |